Q.D. 518	Issue date 15-06-2012	Rev;3  	White copy- Customer		Yellow copy- Returned to Grant		Pink copy- Commissioning Engineer

Grant Spira/Vecta Wood Pellet Boiler Commissioning details.

| Commissioning Engineer |  |  |  |  | Phone no. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Mobile no. |  |  |  |  |
| Customer |  |  |  |  | Phone no. |  |  |  |  |
|  |  |  |  |  | Mobile no. |  |  |  |  |
| Boiler serial number |  |  |  |  | Flue data plate position |  |  |  |  |
| Boiler model |  |  |  |  | Air supply size |  |  |  |  |
| Burner serial number |  |  |  |  | Fused spur –fuse rating |  |  |  |  |
| Combustion performance |  |  |  |  | Unit | Value |  |  |  |
| Flue gas analyser make & model |  |  |  |  |  |  |  |  |  |
| Nett flue gas temp |  |  |  |  | °C |  |  |  |  |
| Combustion chamber draught at 100% power output |  |  |  |  | mbar/in.wg. |  |  |  |  |
| CO2 -maximum value at 100% power output |  |  |  |  | % |  |  |  |  |
| CO2 -minimum value at 100% power output |  |  |  |  | % |  |  |  |  |
| CO -maximum value at 100% power output |  |  |  |  | ppm |  |  |  |  |
| CO -minimum value at 100% power output |  |  |  |  | ppm |  |  |  |  |
| O2 -maximum value at 100% power output |  |  |  |  | % |  |  |  |  |
| O2 -minimum value at 100% power output |  |  |  |  | % |  |  |  |  |
| Installation details |  |  |  |  | ---- | ---- |  |  |  |
| Flue length |  |  |  |  | m |  |  |  |  |
| Number of flue elbows 45° |  |  |  |  | 45° |  |  |  |  |
| Number of flue elbows 30° |  |  |  |  | 30° |  |  |  |  |
| Flue terminal distance above exit through roof |  |  |  |  | m |  |  |  |  |
| Bulk hopper fitted |  |  |  |  | Yes/No |  |  |  |  |
| Bulk to intermediate pellet feed auger make, length , angle & dia. |  |  |  |  |  |  |  |  |  |
| Intermediate hopper type: Left-hand / Right-hand / Double |  |  |  |  |  |  |  |  |  |
| Bulk hopper type / capacity |  |  |  |  |  |  |  |  |  |
| Pellet type / supplier |  |  |  |  |  |  |  |  |  |
| System type: Open Vented / Sealed |  |  |  |  |  |  |  |  |  |
| Expansion vessel size (lt) |  | Expansion vessel charge pressure (bar) PRV lift pressure |  |  |  |  | PRV lift pressure (bar) |  |  |
| Burner parameters (after commissioning) |  |  |  |  |  |  |  |  |  |
| Menu |  |  | Unit | Default setting Setting Unit Value |  |  | Setting after commissioning |  |  |
| H2o..........................TEMP DELTA |  |  | °C |  |  |  |  |  |  |
| H2o..........................TEMP OFF H2o |  |  | °C |  |  |  |  |  |  |
| H2o..........................DELTA RESTART |  |  | °C |  |  |  |  |  |  |
| POWER PELLET.....TIME LOAD MAX |  |  | Seconds |  |  |  |  |  |  |
| POWER PELLET.....TIME PAUSE |  |  | Seconds |  |  |  |  |  |  |
| POWER PELLET.....TIME PAUSE MIN |  |  | Seconds |  |  |  |  |  |  |
| CLEAN.....................TIME CLEAN BRAZ |  |  | Minutes |  |  |  |  |  |  |
| CLEAN.....................TIME CLEAN BOILER |  |  | Minutes |  |  |  |  |  |  |
| CLEAN.....................FLASH CLEANING |  |  | 0 or 1 |  |  |  |  |  |  |
| CLEAN.....................HOURS SERVICE |  |  | Hours |  |  |  |  |  |  |
| SETUP FAN.............POWER MAXIMUM |  |  | Units |  |  |  |  |  |  |
| SETUP FAN.............POWER MINIMUM |  |  | Units |  |  |  |  |  |  |
| SETUP FAN.............POWER LIGHTING |  |  | Units |  |  |  |  |  |  |
| Demonstration carried out to Customer explaining how to operate and maintain appliance |  |  |  |  |  |  |  |  |  |
| Demonstration carried out to Customer explaining the importance of using ENplus standard pellets |  |  |  |  |  |  |  |  |  |
| Customer in possession of all documentation and aware of service requirements and ash removal |  |  |  |  |  |  |  |  |  |

Customer Signature			______________________________	   	Date _____________

Commissioning Engineer Signature  	______________________________		Date _____________